1-Light Black Dusk-to-Dawn Outdoor Wall Lantern Sconce

[by Hampton Bay](https://www.homedepot.com/b/Lighting-Outdoor-Lighting-Outdoor-Wall-Lighting-Outdoor-Sconces/Hampton-Bay/N-5yc1vZp4Zcdpu)

Specifications

Product Depth (in.)

7.7

Product Height (in.)

14.5 in

Product Width (in.)

6.5 in

#### Details

Compatible Bulb Type

CFL,Incandescent,LED

Exterior Lighting Product Type

Outdoor Lanterns

Fixture Color/Finish

Black

Fixture Material

Aluminum

Glass/Lens Type

Clear

Included

Hardware Included

Light Bulb Base Code

E26

Light Bulb Type Included

No Bulbs Included

Maximum Bulb Wattage

100

Maximum Wattage (watts)

0

Number of Lights

1 Light

Outdoor Lighting Features

Dusk to Dawn,Weather Resistant

Power Type

Hardwired

Product Size

Medium

Product Weight (lb.)

1.86 lb

Recommended Light Bulb Shape Code

A19

Returnable

180-Day

Sconce Type

Wall Lantern

Size

Medium

Style

Classic,Mediterranean

UL Listing

1-UL Listed

Voltage Type

Line Voltage

#### Warranty / Certifications

Manufacturer Warranty

Three Year Limited Warranty