**Willis Show Bar**

4156 3rd Street; Detroit, Michigan

*Description of Proposed Work:*

Exterior Work – Canopy Enclosure Only for Scope of Work

1. Wood canopy structure, stained.
2. Corrugate fiberglass panels
3. Concrete foundations for structural posts
4. Wood beams and cross purlins, stained

No work will be on existing concrete masonry wall or other elements of the original design other than erecting the patio structure and roof.

• All the structural work is shown on drawing A2.10 by studiozONE, llc

• The area of the work for the Enclosed Patio is shown on the “Proposed Site Plan” prepared by Steve Flum

• The work areas of the enclosed patio are shown on the Elevations prepared by Steve Flum, the areas only identified as in the Scope of Work.