SITE

- Remove two trees at front yard (present at the time of designation)

- Erect wood fence at rear yard (work completed)

- REMOVE FOUNDATION PLANTINGS AT FRONT YARD (WORK COMPLETED)

- REMOVE TERRACED AREA AT FRONT YARD

HOUSE

Roof

- At arched roof of dormers, replace asphalt shingles with rubber membrane WHAT ABOUT DORMER SIDEWALLS?

- At dormers, where windows are missing, replace with single hung, aluminum-clad wood units with SDLs (Andersen E- series) WILL THIS INCLUDE THE INSTALLATION OF SASH ONLY? WILL ALL EXISTING TRIM BE RETAINED?

- At eaves, retain detilated wood soffit and wood fascia which was installed without HDC approval. THE COMMISSION DENIED THIS ITEM IN 2025. A YEAR HAS NOT YET PASSED.  THIS SCOPE ITEM WILL NEED TO BE REVISED

- Install new aluminum half-round gutters and downspouts

Front Façade

- Retain and repair existing wood windows and trim/brickmould

- Retain existing concrete and brick porch which was installed without HDC approval. ORIGINAL PORCH FLOOR APPEARED TO BE RED TILE. THE NEW PORCH FLOOR IS CONCRETE.

- Install new 3’-0” tall, wood guardrail at porch

- Retain existing wood pilasters which flank the front door (recently installed without HDC approval). DESIGN DOES NOT MATCH THE ORIGINAL

- Install a new aluminum-clad wood arched transom with SDL (Andersen E- series) over the front door to replace missing transom. Fanlight pattern. NOT SURE IF THIS DESIGN IS APPROPRIATE

- Repair flashing at bay roof

East Side

- Retain and repair existing wood windows and trim/brickmould

- Install a new aluminum-clad wood arched transom with SDL (Andersen E- series) at the second story bay to replace missing transom. Fanlight pattern. NOT SURE IF THIS DESIGN IS APPROPRIATE

- At third story, install two aluminum-clad wood casement units with SDLs WILL THIS INCLUDE THE INSTALLATION OF SASH ONLY? WILL ALL EXISTING BRICKMOULD AND MULLION BE RETAINED?

- At first story, install a new aluminum door with vision panel

- Install glass block at basement windows

Rear

- Install new 3’-0” tall, wood guardrail at roof of porch. DESIGN DOES NOT MATCH THE ORIGINAL

- Install glass block at basement windows

- At first story of enclosed porch, install a new aluminum door with vision panel

West Side

- Install glass block at basement windows

- At dormer, install a fixed aluminum-clad window with SDL to replace missing window

All walls

- Tuckpoint where necessary

- Paint wood trim and windows per submission

GARAGE

- Tuckpoint where necessary

- Retain and repair existing windows

- Install new aluminum gutters and downspouts

- Replace original fascia and soffit (completed) with new wood

- Paint wood windows and trim per submission

*****APPLICANT NEEDS TO PROVIDE COMPLETE WINDOW SCHEDULE TO CORRESPOND TO NOTES ON SUBMITTED ELEVATION DRAWINGS