Thomas Roberts Architect

Date:

May 13, 2026
Subject:  

2900 Cass Building Stabilization


HDC Meeting Presentation Outline  

Project No:

23021.00
Prepared By:
Thomas Roberts, RA
1. Introduce Project Team

a. Architect – Thomas Roberts Architect 
b. Construction Manager – JC Beal

c. Structural Engineer – Resurget Engineering
d. Window Assessment – Turner Restoration

e. Masonry Assessment – Akins Construction
f. Owner – Temple Commons LLC (Olympia Development)
2. Project Objectives
a. Stabilize the building from further deterioration  
b. Planning / Programming of the building will remain unchanged
3. Process
a. Site Inspections
i. Exterior Lifts (building interior was not accessible)
ii. Visual / non-invasive
iii. Tap Test

b. As-Builts
i. No original drawings

ii. Fairly accurate depiction of the existing conditions

c. HDC Review Application (submitted 3-17-26)

i. Scope of work summary

ii. Photos and drawings depicting the existing conditions and proposed work.

iii. Proposed product literature 

iv. Window assessment (Turner Restoration)

v. Supplemental Documents 

1. High resolution photos medallions, spandrels, and windows.

d. Plan Review Application (submitted 4-21-26)

4. Existing Conditions Assessment
a. Structural steel frame – Fair to Good (requires confirmation)
b. Wood floors and roof – Poor

c. Masonry and stone – Poor to Fair

d. Windows – Poor

5. Proposed Scope of Work
a. New floors and roof assemblies

b. Existing central stair to remain – no new vertical circulation at this time.
c. New windows

i. One over one – single hung

ii. Quaker H650/H655 Series

iii. Dimensions & Site Lines 
iv. Preset panning system / brick mold profile (closest match from standard available options)
v. Color – Patina Green

d. Building signage locations (proposed)

e. New storefront

i. Configuration similar to the original

ii. Tubelite T140000 Series

iii. Color – Patina Green

iv. New stone base

f. Exterior Restoration

i. Replace medallions and spandrels (GFRC or FRP)

ii. Patch stone (Jahn Product)

iii. Paint removal / coatings stone façade (Prosoco Enviro Klean
Safety Peel 1)
iv. Stone / masonry clean (Prosoco Enviro Klean 2010)
v. Existing painted brick to be painted (east and north elevations) (owners’ preference to be uniform in color)
vi. Sample test areas for stone patch, mortar, cleaning, and paint / coatings removal will be provided.

g. Site Work

i. Minor sidewalk repair/replacement

h. Schedule / Timeline

i. Start construction as soon as plan review is complete and permit is in-hand

ii. Anticipate 1 year of construction
2927 4th Street   Wyandotte, MI  48192   734.250.4032


